## Sheet 1
No. | Function | Expression 1 | Expression 2 | Geometry Discriminator |  | Area Calculation Strategy
91 | Semi-outdoor space | IfcSpace (EXTERNAL=ambiguous) | IfcSlab (IsExternal=TRUE, HasRoof=Partial) | Has partial enclosure + roof overhang |  | Conditional: count if >3 walls enclosed
92 | Sunken plaza | IfcSpace (Elevation<0) | IfcSlab (IsExternal=TRUE, BelowGrade) | Below grade + open to sky |  | Not counted (exterior despite being below)
93 | Covered parking | IfcSpace (PARKING + HasRoof) | IfcSlab (PARKING + Covered) | Has roof but open sides |  | Partial (varies by jurisdiction: 0-50%)
94 | Mechanical penthouse | IfcSpace (Rooftop equipment) | IfcSlab (ROOF + Equipment area) | On roof + enclosed vs open |  | Conditional: count if fully enclosed
95 | Double-height lobby | IfcSpace (H>6m, single space) | Two IfcSlabs (upper void) | Tall ceiling vs mezzanine potential |  | Risk: counted twice if modeled as 2 floors
96 | Enclosed bridge | IfcSpace (connecting buildings) | IfcSlab (Bridge + IsEnclosed) | Between buildings + heated |  | Ambiguous: primary vs secondary building
97 | Light well | IfcSpace (basement) | IfcOpeningElement | Underground exterior wall + well |  | Not deducted from GFA
98 | Equipment opening | IfcOpeningElement | IfcSlab (HasOpening) | In slab + small hole |  | Deduct if significant size
99 | Bridge space | IfcSpace | IfcSlab (Bridge) | Connecting buildings + elevated |  | Count as circulation area
100 | Central void | IfcSpace (multi-floor) | IfcOpeningElement (void) | Multi-floor + central + large |  | Deduct void from all floors
91 | Atrium | IfcSpace (H>12m) | IfcOpeningElement (H>12m) | Height>12m + Width>8m |  | Deduct void area from floor
92 | Elevator shaft | IfcSpace (narrow) | IfcOpeningElement (narrow) | Height>15m + Width<3m + elevator |  | Deduct shaft area from floor
93 | Stairwell | IfcSpace | IfcOpeningElement | Height>12m + Width<3m + stair |  | Deduct stairwell area
94 | HVAC shaft | IfcSpace | IfcOpeningElement | Height>10m + slender + duct |  | Deduct shaft area
95 | Plumbing shaft | IfcSpace | IfcOpeningElement | Height>10m + slender + pipe | IfcSpace ¦ INTERNAL ¦ H>15m, aspect_ratio>15, has_pipe=T ¦ Super tall+slender+pipe ¦ Plumbing shaft ¦ 88% ¦ Not counted (shaft) ¦ NO ¦ | Deduct shaft area
96 | Electrical shaft | IfcSpace | IfcOpeningElement | Height>10m + very slender + cable |  | Deduct shaft area