## Sheet 1
No. | IFC | Geometry Feature 1 | Geometry Feature 2 | Geometry Feature 3 | Actual Function | Confidence | Result |  | Inference Rule | Area Impact
66 | IfcSpace | H>20m | W<3m | Contains elevator | Elevator shaft |  |  |  | Super tall+narrow+elevator | Counted (shaft)
67 | IfcSpace | H>15m | W<2m | Contains stair | Stairwell |  |  |  | Super tall+narrow+stair | Counted (shaft)
68 | IfcSpace | H>15m | aspect>10 | Vertical ductwork | HVAC shaft |  |  |  | Super tall+narrow+duct | Counted (shaft)
69 | IfcSpace | H>15m | aspect>15 | Cable vertical shaft | Electrical shaft |  |  |  | Super tall+narrow+cable | Counted (shaft)
70 | IfcSpace | H>12m | W>8m | floor_count≥2 | Atrium |  |  |  | Super tall+wide+multi-floor | Not counted (void)
71 | IfcOpeningElement | H>12m | W>8m | Penetrates multiple floors | Atrium void |  |  |  |  | Deduct full void area
72 | IfcOpeningElement | H>15m | W<3m | Contains elevator | Elevator shaft opening |  |  |  |  | Deduct shaft area
73 | IfcOpeningElement | H>15m | W<2m | Contains stair | Stairwell opening |  |  |  |  | Deduct shaft area
74 | IfcOpeningElement | H>12m | aspect>10 | Vertical ductwork | HVAC shaft opening |  |  |  |  | Deduct shaft area
75 | IfcOpeningElement | H>12m | aspect>12 | Vertical piping | Plumbing shaft opening |  |  |  |  | Deduct shaft area
76 | IfcOpeningElement | H>10m | aspect>15 | Cable vertical shaft | Electrical shaft opening |  |  |  |  | Deduct shaft area
77 | IfcOpeningElement | In slab | D<0.5m | Circular | Small service penetration |  |  |  |  | Ignore (too small)
78 | IfcOpeningElement | In slab | D>1m | Rectangular | Large equipment opening |  |  |  |  | Deduct opening area
79 | IfcOpeningElement | Building boundary | Narrow gap | Vertical | Expansion joint |  |  |  |  | Not deducted
80 | IfcOpeningElement | In slab | D<0.3m | Round | Floor drain opening |  |  |  |  | Ignore (too small)
81 | IfcOpeningElement | Underground exterior wall | Light well | - | Window well |  |  |  |  | Not affecting floor area
82 | IfcOpeningElement | In slab | Temporary | Rigging | Equipment rigging opening |  |  |  |  | Temporary - not deducted
83 | IfcOpeningElement | Multi-floor | Large void | Central | Central void/atrium |  |  |  |  | Deduct full void
84 | IfcOpeningElement | In slab | Stair penetration | - | Stair opening |  |  |  |  | Deduct stair opening
85 | IfcOpeningElement | In slab | Escalator penetration | - | Escalator opening |  |  |  |  | Deduct escalator opening
86 | IfcOpeningElement | In slab | Vertical circulation | - | Vertical circulation void |  |  |  |  | Deduct circulation void
87 | IfcOpeningElement | In roof | Large area | Glass | Glazed roof opening |  |  |  |  | Not affecting floor area
88 | IfcOpeningElement | Between floors | Vertical void | Open | Open floor connection |  |  |  |  | Deduct connection void
89 | IfcOpeningElement | In slab | Loading access | - | Loading dock opening |  |  |  |  | Not deducted (service)
90 | IfcOpeningElement | Partial floor | Balcony edge | - | Balcony void boundary |  |  |  |  | Defines balcony edge
[6 empty] | 0.95 | MECHANICAL_ROOM | ✓
[6 empty] | 0.93 | GENERAL_ROOM | x